Isolation of monocytes.

Note: All steps should be performed in the laminar flow hood.

Solutions:

- Blood drawn in EDTA tubes.

- NycoPrep 1.068 (Axis-Shield; Oslo, Norway)

- Sterile PBS with 1% FBS or BSA

- RPMI with Glutamax and 10% FBS with 1% Pen/Strep

Supplies:

- Plastic Lavender EDTA blood collection tubes (6mL: Fisher Sci:#02-683-99D
BD No.:367863)

- Sterile disposable transfer pipettes

- 15 mL centrifuge tubes

- Pasteur pipette

- T-25 flask or 24 well plate

- NycoPrep 1.068 (#1002351; Greiner Bio-One;www.greinerbioone.com)

| Figure 1. Appearance of Blood Samples during Recovery of WBCs |
| --- |
| Whole blood in the collection tube | Blood after centrifugation | WBCs and RBCs after plasma removal | Top view of the WBCs (buffy coat) | Top view of sample after WBC removal |

Steps:

- Collect blood samples according to standard procedures in tubes containing anticoagulant (recommended anticoagulant is EDTA sodium or lavender tubes).

  - All tubes used at UCSF facilities must be plastic.  No glass is permitted.

  - Size can be from 2 to 7 mL

- Fractionate whole blood by centrifuging at 1500-2000xg for 10-15 min at room temperature.

  - Will separate out the blood into an upper plasma layer, a lower RBC layer, and a thin interface containing the WBCs (Buffy coat).  See Figure 1.

  - On the IEC CL2 in the cell culture facility: Spin at 3200 rpm (setting 3.2) or approximately 1882xg.

- Aspirate off the plasma with plastic transfer pipette.  Aspirate to approximately 1 mm from the RBCs.  (Figure 1)  When removing the plasma, do not disturb the WBC layer.  Samples with exceptionally high WBC counts will have a thicker buffy coat.  Expel all residual plasma from the transfer pipette before continuing.

- Add buffy coats to new 15mL centrifuge tube to a total volume of 5-6 mL.  Supplement with plasma if needed to reach volume.

- With a sterile glass Pasteur pipet, add 3mL of NycoPrep 1.068.  It is important to avoid mixing the two layers.  Form a sharp interface by underlying the buffy coat layer with NycoPrep.

- Centrifuge at 600xg for 15 minutes.

  - The large centrifuge has to be used for this step.

- After centrifugation, the distribution of cells should be similar to that seen in Figure 2.

Figure 2: Cell distribution after centrifugation.

- Remove the clear plasma down to approximately 3-4 mm above the interface.

- Collect the remainder of the plasma and the top half (M in Figure 2) of the broad band in the NycoPrep 1.068 solution.

- Dilute the cell suspension in 6.7 mL with sterile PBS and 1% w/v bovine serum albumin or fetal bovine serum.

- Centrifuge for 7 min at 600xg to pellet the monocytes.  With large centrifuge, 692 RPM.

- Aspirate supernatant.  Resuspend cells in the same solution and spin down again.

- Aspirate supernatant.  Resuspend cells in the same solution and spin down agiain.

- Aspirate supernatant.  Resuspend in RPMI 1640 with Glutamax with 10% FBS and 1% Pen/Strep in a T-25 flask.

- Moncoytes will adhere to the surface of the flask.  T-cells will not.