Procedure for apoptosis/necrosis cell analysis

Vybrant Apoptosis Assay Kit #3

FIC annexin V/propidium iodide

Invitrogen # V13242

Positive controls:

- Apoptosis: 0.1% sodium iodide in cell culture media.  Applied 24 hours before experiment.  Cells maintained incubator.

- Necrosis: Cells exposed to ice for approximately 30 minutes before staining.

Negative controls:

- Cells cultured on tissue culture polystyrene without any changes.

Note: For 200 microliters of final volume for 5 wells.  Good for 12 and 24-well plates.  Okay for 6-well plates.

Steps:

- Make 3 mL of 1x annexin-binding buffer

  - 600 microliter of 5x buffer (Component C)

  - 2400 microliter of nanopure water, sterile

- Make 25 microliters of 100 micrograms/mL PI solution

  - 2.5 microliters of PI solution (Component B)

  - 22.5 microliters of 1x annexin-binding buffer (from #1)

- Rinse cells in cold PBS.  Aspirate off.

- Replace media with 200 microliters of annexin-binding buffer per well

- Add 10 microliters of Annexin V conjugate (Component A) to each well

- Add 4 microliters of 100 microgram/mL PI solution (from #2) to each well

- Incubate at room temperature for 15 minutes.

- Wash cells with 1x annexin-binding buffer.  Aspirate

- Add 500 microliters of PBS to each well, for 6-well.  Less for 12 or 24 wells.

- Live cells should show weak FITC (green) staining due to staining of cellular membrane.

- Apoptotic cells should show a significantly higher degree of surface labeling. (FITC)

- Dead cells will show both membrane stains.  The PI (red) stain should be a nuclear stain.